The five Korotkoff sounds are a series of sounds heard when a doctor listens to the brachial artery with a stethoscope to measure blood pressure. The sounds are broken down into five phases:

Phase I: A clear tapping sound that indicates the systolic pressure, or top number of the blood pressure reading

    Phase II: A swishing sound or soft murmur

    Phase III: A rhythmic knocking or slapping sound that becomes sharper and more intense

    Phase IV: A sudden muffling of the sounds that become soft and blowing

    Phase V: A complete disappearance of all sounds that indicates the diastolic pressure, or bottom number of the blood pressure reading

Method of Measuring Arterial Blood Pressure

- In the measurement procedure a cuff is wrapped around a person’s arm with an inflatable

rubber bag inside the cuff centered over the brachial artery.

- Enough air pressure is pumped into the cuff to close the artery. Air pressure is then released by opening the thumb valve.

- When the pressure in the cuff is equal to the pressure on the artery, the artery opens and the blood begins to return to the part of the artery that was closed.

- As the blood returns to the artery, pulse sounds begin. These sounds can be heard through a stethoscope placed over the brachial pulse point. The sounds continue for a time while the cuff is deflated slowly, eventually becoming too faint to hear.

- The cuff is connected by tubing to a manometer, which shows the amount of pressure on the artery.

- When the first pulse sounds are heard, the reading on the manometer measures the systolic blood pressure.

- The last sound heard is the diastolic blood pressure. In children, the muffling of sound or fourth sound is often used as the diastolic blood pressure rather than the disappearance of sound